## Change Notes
OLIS NOMENCLATURES
Release Notes for Version V3.04_PROD
Released April 28, 2026
The OLIS Nomenclature Change logs are presented in a Microsoft Excel
spread sheet format consisting of 4 workbooks
1: Test Request Nomenclature | 2: Test Result Nomenclature |  | 3: Microorganism | 4: Specimen Source
The complete OLIS nomenclatures is posted on the OLIS portal:
https://www.ehealthontario.on.ca/en/OLIS-nomenclature/
Questions regarding changes relevant to this release can be obtained by contacting the:
Ontario Health Service Desk: 1- 866 - 250 - 1554 or email OH-DS_servicedesk@ontariohealth.ca
Types of changes include
Test Request Nomenclature: | 35 User or OLIS Requested Additions
3 User or OLIS Requested Changes
Review and remap at EOD May 28, 2026 to prevent message failure
2 Deprecations - REMAPPING REQUIRED
Review and remap at EOD May 28, 2026 to prevent message failure
Test Result Nomenclature: | 21 User or OLIS Requested Additions
134 User or OLIS Requested Changes - REMAPPING REQUIRED
Review and remap at EOD May 28, 2026 to prevent message failure
12 Deprecations - REMAPPING REQUIRED
Review and remap at EOD May 28, 2026 to prevent message failure
List of Microorganisms: | 4 User or OLIS Requested Additions
1 OLIS Requested Changes - Alignment with SNOMED
Review and remap at EOD May 28, 2026 to prevent message failure
Source: | n/a
LOINC Copyright Notice
This product includes all or a portion of the LOINC® table, LOINC panels and forms file, and/or LOINC
hierarchies file, or is derived from one or more of the foregoing, subject to a license from Regenstrief Institute,
Inc. Your use of the LOINC table, LOINC codes, LOINC panels and forms file, and LOINC hierarchies file also is
subject to this license, a copy of which is available at http://loinc.org/terms-of-use. The current complete LOINC table
LOINC Users' Guide, LOINC panels and forms file, and LOINC hierarchies file are available for download at http://loinc.org.
The LOINC table and LOINC codes are copyright© 1995-2012, Regenstrief Institute, Inc. and the Logical Observation
Identifiers Names and Codes (LOINC) committee. The LOINC panels and forms file and LOINC hierarchies file are copyright©
1995-2012, Regenstrief Institute, Inc. All rights reserved. THE LOINC TABLE (IN ALL FORMATS), LOINC PANELS AND
FORMS FILE, AND LOINC HIERARCHIES ARE PROVIDED 'AS IS.' ANY EXPRESS OR IMPLIED WARRANTIES ARE DISCLAIMED,
INCLUDING, BUT NOT LIMITED TO, THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE.
LOINC® is a registered United States trademark of Regenstrief Institute, Inc. A small portion of the LOINC table
may include content (e.g., survey instruments0 that is subject to copyrights owned by third parties.
Such content has been mapped to LOINC terms under applicable copyright and terms of use. Notice
of such third party copyright and license terms would need to be included if such content is included.
SNOMED CT Copyright Notice
This Material includes SNOMED Clinical Terms® (SNOMED CT®) which is used by
permission of the International Health Terminology Standards Development
Organization (IHTSDO). All rights reserved. SNOMED CT®, was originally created by The
College of American Pathologists. "SNOMED and SNOMED CT" are registered trademarks of the IHTSDO.

## Test Request Changes
Type of Change | OLIS Test Request Code | External Test Request Code | External Source | Test Request Name | Request Alternate Name 1 | Request Alternate Name 2 | Request Alternate Name 3 | Comments | Test Request Category | Test Request sub-cat | Reportable Indicator | Reportable Context | External Code Version | Effective Date | End Date | Workflow Status Indicator | Validation Status Indicator | Registration Status Indicator | Change Note | DocumenText | Description | Anonymous Testing | Sort Key | Report Category
Deprecate | TR10706-0 |  |  | Herpes Detection by Electron Microscopy | Herpes Detection by Electron Microscopy |  | Herpes EM |  | Micro |  |  |  |  | 2011-12-12 | 2026-05-31 | Retired archived | INACTIVE | STANDARD | Deprecated in V3.04 - Use equivalent TR10705-2 |  |  | yes |  | Microbiology
Change | TR12667-2 |  |  | BSCL2 DNA Sequencing | BSCL2 DNA Sequencing | Berardinelli-Seip Congenital Lipodystrophy 2 DNA Sequencing |  |  | Pathology | Molgen |  |  |  | 2015-02-20 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD |  |  |  |  | Pathology
Change | TR12734-0 |  |  | Histoplasma Antigen | Histoplasma Antigen |  |  |  | Micro | Serology |  |  |  | 2016-01-22 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Microbiology
Deprecate | TR13090-6 |  |  | MBTA panel | MBTA Panel |  |  |  | Micro |  |  |  |  | 2022-10-14 | 2026-05-31 | Retired archived | INACTIVE | STANDARD | Deprecated in V3.04 - No equivalent Test Request code available |  |  |  |  | Microbiology
Change | TR13547-5 |  |  | Molecular BRAF testing | Molecular BRAF Testing | BRAF |  |  | Pathology |  |  |  |  | 2026-04-23 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD |  |  |  |  | Pathology
Add | TR13564-0 |  |  | Cytogenetics Banked | Cytogenetics Banked |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13565-7 |  |  | Cytogenetics FISH | Cytogenetics FISH |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13566-5 |  |  | Cytogenetics Optical Genome Mapping (OGM) | Cytogenetics Optical Genome Mapping (OGM) | Cytogenetics OGM |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13567-3 |  |  | Cytogenetics Karyotype | Cytogenetics Karyotype |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13568-1 |  |  | Cytogenetics Referred-Out | Cytogenetics Referred-Out |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13569-9 |  |  | Molecular NGS - AGATE Circulating Tumor DNA (ctDNA) | AGATE Circulating Tumor DNA (ctDNA) NGS | NGS - AGATE ctDNA |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Pathology
Add | TR13570-7 |  |  | Molecular Bank | Molecular Bank |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Pathology
Add | TR13571-5 |  |  | Molecular Epidermal Growth Factor Receptor (EGFR) Circulating Tumor DNA (ctDNA) | Molecular Epidermal Growth Factor Receptor (EGFR) Circulating Tumor DNA (ctDNA) | Molecular EGFR ctDNA |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13572-3 |  |  | Molecular Epidermal Growth Factor Receptor (EGFR) | Molecular Epidermal Growth Factor Receptor (EGFR) | Molecular EGFR Screen |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13573-1 |  |  | Molecular O6-methylguanine-DNA methyltransferase (MGMT) | Molecular O6-methylguanine-DNA methyltransferase (MGMT) | O6-methylguanine-DNA methyltransferase (MGMT) promoter methylation |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13574-9 |  |  | Molecular Microsatellite Instability (MSI) | Molecular Microsatellite Instability (MSI) |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13575-6 |  |  | Molecular Sequencing Confirmation | Molecular Sequencing Confirmation |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Pathology
Add | TR13576-4 |  |  | Molecular NGS - Solid Tumour | Solid Tumour NGS |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Pathology
Add | TR13577-2 |  |  | Molecular NGS - AGATE Solid Tumour | AGATE Solid Tumour NGS |  |  |  | Pathology |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | OLIS Requested Change V3.04 |  |  |  |  | Pathology
Add | TR13578-0 |  |  | Hereditary Cancer Core Panel | Hereditary Cancer Core Panel |  |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13579-8 |  |  | Hereditary cancer - MBD4 tumour predisposition syndrome panel | Hereditary Cancer - MBD4 Tumour Predisposition Syndrome Panel | MBD4-associated neoplasia syndrome panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13580-6 |  |  | Hereditary cancer - multiple osteochondromas panel | Hereditary Cancer - Multiple Osteochondromas Panel |  |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13581-4 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Amyloidosis | Hereditary Chronic Kidney Disease (CKD) - Amyloidosis | Kidney disease amyloidosis panel; Amyloidosis kidney panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13582-2 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Bartter and Gitelman Syndrome | Hereditary Chronic Kidney Disease (CKD) - Bartter and Gitelman Syndrome Panel | Bartter-Gitelman Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13583-0 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Congenital anomalies of the kidneys and urinary tracts (CAKUT) | Hereditary Chronic Kidney Disease (CKD) - Congenital Anomalies of the Kidneys and Urinary Tracts (CAKUT) panel | CAKUT panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13584-8 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Complement mediated Kidney Disease (KD) and Atypical Hemolytic Uremic Syndrome (aHUS) | Hereditary Chronic Kidney Disease (CKD) - Complement Mediated Kidney Disease (KD) and Atypical Hemolytic Uremic Syndrome (aHUS) panel | Atypical Hemolytic Uremic Syndrome (aHUS) panel; Complement mediated Kidney Disease aHUS Panel | Complement mediated KD and aHUS Panel |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13585-5 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Comprehensive (end-stage) | Hereditary Chronic Kidney Disease (CKD) - Comprehensive Kidney Disease Panel | Comprehensive Kidney Disease Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13586-3 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Cystic Kidney Disease | Hereditary Chronic Kidney Disease (CKD) - Cystic Kidney Disease Panel | Cystic Kidney Disease Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13587-1 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Dent disease | Hereditary Chronic Kidney Disease (CKD) - Dent Disease Panel | Dent Disease Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13588-9 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Diabetes insipidus | Hereditary Chronic Kidney Disease (CKD) - Diabetes Insipidus Panel | Diabetes Insipidus Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13589-7 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Hypomagnesemia | Hereditary Chronic Kidney Disease (CKD) - Hypomagnesemia Panel | Hypomagnesemia Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13590-5 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Hypophosphatasia (HPP) and Inherited Hypophosphatemic Rickets | Hereditary Chronic Kidney Disease (CKD) - Hypophosphatemia (HPP) and Inherited Hypophosphatemic Rickets Panel | Hypophosphatemia and Inherited Hypophosphatemic Rickets Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13591-3 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Nephrolithiasis and Nephrocalcinosis | Hereditary Chronic Kidney Disease (CKD) - Nephrolithiasis and Nephrocalcinosis Panel | Nephrolithiasis and Nephrocalcinosis Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13592-1 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Proteinuric Kidney Disease (KD) | Hereditary Chronic Kidney Disease (CKD) - Proteinuric Kidney Disease (KD) Panel | Proteinuric Kidney Disease Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13593-9 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Pseudohyperaldosteronism | Hereditary Chronic Kidney Disease (CKD) - Pseudohypoaldosteronism Panel | Pseudohypoaldosteronism Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13594-7 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Renal Tubular Acidosis | Hereditary Chronic Kidney Disease (CKD) - Renal Tubular Acidosis Panel | Renal Tubular Acidosis Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13595-4 |  |  | Molecular NGS - Hereditary Chronic Kidney Disease (CKD) - Tubulopathies | Hereditary Chronic Kidney Disease (CKD) - Tubulopathies Panel | Renal Tubulopathy Panel; Tubulopathy Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13596-2 |  |  | Cytogenetics Fibroblast Culture | Cytogenetics Fibroblast Culture |  |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13597-0 |  |  | Molecular NGS - Circulating Tumour DNA (ctDNA) Panel | Circulating Tumour DNA (ctDNA) NGS Panel | Molecular NGS - ctDNA Panel |  |  | Pathology | Molgen |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Pathology
Add | TR13598-8 |  |  | Helicobacter pylori Serology | Helicobacter pylori Serology |  |  |  | Micro |  |  |  |  | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD | User Requested Addition V3.04 |  |  |  |  | Microbiology

## Test Result Changes
Type of Change | LOINC Code | External Code | External Source (Other than LOINC) | LOINC Component Name | LOINC Property | Units | LOINC Time | LOINC System | LOINC Scale | LOINC Method | LOINC Short Name | LOINC Fully Specified Name | Result Alternate Name 1 | Result Alternate Name 2 | Result Alternate Name 3 | Result Category | Result Sub-Cat | LOINC Answer List | LOINC Status | LILI Code | Reportable | Reportable Context | External Code Version | Change Note | Effective Date | End Date | Workflow Status Indicator | Validation Status Indicator | Registration Status Indicator | Description | Sort Key
Add | 101588-2 |  |  | Histoplasma capsulatum+Blastomyces dermatitidis Ag | PrThr | 0 | Pt | Ser/Plas | Ord | IA | H capsul H+ B derma Ag SerPl Ql IA | Histoplasma capsulatum+Blastomyces dermatitidis Ag:PrThr:Pt:Ser/Plas:Ord:IA | Histoplasma capsulatum+Blastomyces dermatitidis Antigen; IA |  |  | MICRO | [7 empty] | OLIS Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | 101589-0 |  |  | Histoplasma capsulatum+Blastomyces dermatitidis Ag | MCnc | ng/mL | Pt | Ser/Plas | Qn | IA | H capsul H+ B derma Ag SerPl IA-mCnc | Histoplasma capsulatum+Blastomyces dermatitidis Ag:MCnc:Pt:Ser/Plas:Qn:IA | Histoplasma capsulatum+Blastomyces dermatitidis Antigen; IA |  |  | MICRO | [7 empty] | OLIS Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | 111492-5 |  |  | Gamma globulin | MCnc | g/L | 24H | Urine | Qn | Electrophoresis | Gamma glob 24h Ur Elph-mCnc | Gamma globulin:MCnc:24H:Urine:Qn:Electrophoresis | Gamma Globuline; 24H Urine |  |  | CHEM | [7 empty] | OLIS Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Change | 13592-1 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.XXX induced | PA PRP XXX | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.XXX induced | Platelet Aggregation Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 13593-9 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.prostaglandin induced | IPA PG PRP | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.prostaglandin induced | Platelet Aggregation Prostaglandin Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 17780-8 |  |  | Helicobacter pylori Ag | PrThr |  | Pt | Stool | Ord | IA | H pylori Ag Stl Ql IA | Helicobacter pylori Ag:PrThr:Pt:Stool:Ord:IA | Helicobacter Pylori Antigen; Stool; IA |  |  | MICRO | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-01-25 |  | RELEASED | ACTIVE | STANDARD
Change | 18383-0 |  |  | Alfentanil | PrThr |  | Pt | Urine | Ord |  | Alfentanil Ur Ql | Alfentanil:PrThr:Pt:Urine:Ord | Alfentanil; Urine | ALFENTA | FANAXAL | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2019-05-26 |  | RELEASED | ACTIVE | STANDARD
Change | 18435-8 |  |  | Sufentanil | PrThr |  | Pt | Urine | Ord |  | Sufentanil Ur Ql | Sufentanil:PrThr:Pt:Urine:Ord | Sufentanil; Urine | SUFENTA |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2019-05-26 |  | RELEASED | ACTIVE | STANDARD
Change | 20606-0 |  |  | Cells.CD4/100 cells | NFr | % | Pt | XXX | Qn |  | CD4 Cells fr XXX | Cells.CD4/100 cells:NFr:Pt:XXX:Qn | Cells.CD4/100 cells |  |  | CELLMARK | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-07-27 |  | RELEASED | ACTIVE | STANDARD
Change | 20614-4 |  |  | Cells.CD8/100 cells | NFr | % | Pt | XXX | Qn |  | CD8 Cells fr XXX | Cells.CD8/100 cells:NFr:Pt:XXX:Qn | Cells.CD8/100 cells |  |  | CELLMARK | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-07-27 |  | RELEASED | ACTIVE | STANDARD
Change | 24377-4 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced | Platelet aggr int PRP Adenosine diphosphate induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced | Platelet Aggregation Adenosine Diphosphate Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 24378-2 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Epinephrine induced | Platelet aggr int PRP Epinephrine induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Epinephrine induced | Platelet Aggregation EPINEPHrine Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 24379-0 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Collagen induced | Platelet aggr int PRP Collagen induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Collagen induced | Platelet Aggregation Collagen Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-08-31 |  | RELEASED | ACTIVE | STANDARD
Change | 24380-8 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Ristocetin induced | Platelet aggr int PRP Ristocetin induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Ristocetin induced | Platelet Aggregation Ristocetin Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 24381-6 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Arachidonate induced | Platelet aggr int PRP Arachidonate induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Arachidonate induced | Platelet Aggregation Arachidonate Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Deprecate | 2515-5 |  |  | Kynurenate | MCnc |  | Pt | Urine | Qn |  | Kynuren Ur-mCnc | Kynurenate:MCnc:Pt:Urine:Qn | Kynurenate; Urine |  |  | CHEM | [7 empty] | Deprecated in V3.04 - Use suggested LOINC 53101-2 | 2009-01-25 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Change | 33518-2 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.high dose | PA PRP ADP hi dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.high dose | Platelet Aggregation Adenosine Diphosphate Induced High Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33519-0 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.low dose | PA PRP ADP lo dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.low dose | Platelet Aggregation Adenosine Diphosphate Induced Low Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33520-8 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.collagen induced.high dose | PA PRP Coll hi dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced.high dose | Platelet Aggregation Collagen Induced High Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33521-6 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.collagen induced.low dose | PA PRP Coll lo dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced.low dose | Platelet Aggregation Collagen Induced Low Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33522-4 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.ristocetin induced.high dose | PA PRP Rist hi dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.high dose | Platelet Aggregation Ristocetin Induced High Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33523-2 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.ristocetin induced.low dose | PA PRP Rist lo dose | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.low dose | Platelet Aggregation Ristocetin Induced Low Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33528-1 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn | Aggregometry.adenosine diphosphate induced.high dose | PA PRP Cont ADP hi dose | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn:Aggregometry.adenosine diphosphate induced.high dose | Platelet Aggregation Adenosine Diphosphate Induced High Dose; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33529-9 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn | Aggregometry.adenosine diphosphate induced.low dose | PA PRP Cont ADP lo dose | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn:Aggregometry.adenosine diphosphate induced.low dose | Platelet Aggregation Adenosine Diphosphate Induced Low Dose; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33530-7 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn | Aggregometry.epinephrine induced | PA PRP Cont Epineph | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn:Aggregometry.epinephrine induced | Platelet Aggregation EPINEPHrine Induced; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33531-5 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn | Aggregometry.arachidonate induced | PA PRP Cont AA | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn:Aggregometry.arachidonate induced | Platelet Aggregation Arachidonate Induced; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33532-3 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn |  | PA PRP Cont Rist hi dose | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn | Platelet Aggregation Ristocetin Induced High Dose; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33533-1 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Control | Qn | Aggregometry.ristocetin induced.low dose | PA PRP Cont Rist lo dose | Platelet aggregation:RelACnc:Pt:PRP^Control:Qn:Aggregometry.ristocetin induced.low dose | Platelet Aggregation Ristocetin Induced Low Dose; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33550-5 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.1500 ug/mL | PA PRP Rist 1500 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.1500 ug/mL | Platelet Aggregation Ristocetin Induced 1500 mg/L | Platelet Aggregation Study |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | 33551-3 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.1200 ug/mL | PA PRP Rist 1200 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.1200 ug/mL | Platelet Aggregation Ristocetin Induced 1200 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 33552-1 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.900 ug/mL | PA PRP Rist 900 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.900 ug/mL | Platelet Aggregation Ristocetin Induced 900 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33553-9 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.600 ug/mL | PA PRP Rist 600 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.600 ug/mL | Platelet Aggregation Ristocetin Induced 600 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33554-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.300 ug/mL | PA PRP Rist 300 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.300 ug/mL | Platelet Aggregation Ristocetin Induced 300 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33670-1 |  |  | Platelet aggregation | Time | s | Pt | PRP | Qn | Collagen induced lag.high dose | PA PRP Coll Lag time hi dose PRP | Platelet aggregation:Time:Pt:PRP:Qn:Collagen induced lag.high dose | Platelet Aggregation Collagen Induced Lag High Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33671-9 |  |  | Platelet aggregation | Time | s | Pt | PRP^Control | Qn | Collagen induced lag.high dose | PA Cont PRP Coll Lag time hi dose PRP | Platelet aggregation:Time:Pt:PRP^Control:Qn:Collagen induced lag.high dose | Platelet Aggregation Collagen Induced Lag High Dose; Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33672-7 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.ristocetin.Control PPP induced | PA PRP Rist + Cont PPP | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin.Control PPP induced | Platelet Aggregation Ristocetin+PPP Control | Platelet Aggregation Study |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2011-09-30 |  | RELEASED | ACTIVE | STANDARD
Change | 33674-3 |  |  | Platelet aggregation | RelACnc |  | Pt | PPP | Qn | Aggregometry.ristocetin.Control PRP induced | PA PPP Rist + Cont PRP | Platelet aggregation:RelACnc:Pt:PPP:Qn:Aggregometry.ristocetin.Control PRP induced | Platelet Aggregation Ristocetin+PRP Control |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 33857-4 |  |  | Sezary cells/Leukocytes | NFr | % | Pt | Bld | Qn | Manual count | Sezary Cells NFr Bld Manual | Sezary cells/Leukocytes:NFr:Pt:Bld:Qn:Manual count | Sezary Cells/Leukocytes; Manual |  |  | HEM/BC | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2007-01-31 |  | RELEASED | ACTIVE | STANDARD
Change | 35373-0 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP^Donor | Qn | Aggregometry.XXX induced | PA PRP Donr XXX | Platelet aggregation:RelACnc:Pt:PRP^Donor:Qn:Aggregometry.XXX induced | Platelet Aggregation Induced; Donor |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 40593-6 |  |  | Platelet aggregation | ACnc | U/mL | Pt | PRP | Qn | Aggregometry.epinephrine induced.50 umol/L | PA PRP Epineph 50 umol/L-aCnc | Platelet aggregation:ACnc:Pt:PRP:Qn:Aggregometry.epinephrine induced.50 umol/L | Platelet Aggregation EPINEPHrine Induced 50 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 40594-4 |  |  | Platelet aggregation | ACnc | U/mL | Pt | PRP | Qn | Aggregometry.epinephrine induced.100 umol/L | PA PRP Epineph 100 umol/L-aCnc | Platelet aggregation:ACnc:Pt:PRP:Qn:Aggregometry.epinephrine induced.100 umol/L | Platelet Aggregation EPINEPHrine Induced 100 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 40839-3 |  |  | fentaNYL | PrThr |  | Pt | Urine | Ord | Confirm | fentaNYL Ur Ql Cfm | fentaNYL:PrThr:Pt:Urine:Ord:Confirm | fentaNYL; Urine; Confirm |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-01-25 |  | RELEASED | ACTIVE | STANDARD
Change | 41231-2 |  |  | Xanthurenate+Kynurenate | PrThr |  | 24H | Urine | Ord |  | Xanthuren+Kynuren 24H Ur Ql | Xanthurenate+Kynurenate:PrThr:24H:Urine:Ord | Xanthurenate + Kynurenate; 24h Urine |  |  | CHEM | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-01-25 |  | RELEASED | ACTIVE | STANDARD
Change | 43200-5 |  |  | Norfentanyl | PrThr |  | Pt | Urine | Ord | Confirm | Norfentanyl Ur Ql Cfm | Norfentanyl:PrThr:Pt:Urine:Ord:Confirm | Norfentanyl; Urine; Confirm |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-08-01 |  | RELEASED | ACTIVE | STANDARD
Change | 48007-9 |  |  | Genetic variant allelic state | Type |  | Pt | Bld/Tiss | Nom | Molgen | Genetic variant allelic state Bld/T | Genetic variant allelic state:Type:Pt:Bld/Tiss:Nom:Molgen | Genetic Variant Allelic State; Molgen |  |  | MOLPATH.MISC |  | Heteroplasmic; Homoplasmic; Homozygous; Heterozygous; Hemizygous | [5 empty] | OLIS Requested Change V3.04 - Alignment with LOINC | 2025-07-24 |  | RELEASED | ACTIVE | STANDARD
Change | 49010-2 |  |  | Platelet aggregation | ACnc | PRU; U/mL | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced | PA PRP ADP-aCnc | Platelet aggregation:ACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced | Platelet Aggregation Adenosine Diphosphate Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 49011-0 |  |  | Platelet aggregation | ACnc | ARU; U/mL | Pt | PRP | Qn | Aggregometry.arachidonate induced | PA PRP AA-aCnc | Platelet aggregation:ACnc:Pt:PRP:Qn:Aggregometry.arachidonate induced | Platelet Aggregation Arachidonate Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 49485-6 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.ristocetin induced.1800 ug/mL | PA PRP Rist 1800 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.1800 ug/mL | Platelet Aggregation Ristocetin Induced 1800 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-08-11 |  | RELEASED | ACTIVE | STANDARD
Change | 49999-6 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Nom | Collagen induced | PA Coll PRP Nom | Platelet aggregation interpretation:Imp:Pt:PRP:Nom:Collagen induced | Platelet Aggregation Collagen Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-05-31 |  | RELEASED | ACTIVE | STANDARD
Change | 50944-8 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.20 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.20 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.20 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 20 umol/L | Platelet Aggregation Study |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2011-09-30 |  | RELEASED | ACTIVE | STANDARD
Change | 50945-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.2 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.2 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.2 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 2 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 50946-3 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.4 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.4 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.4 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 4 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 50947-1 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Collagen induced.190 ug/mL | Platelet aggr int PRP Collagen induced.190 ug/mL-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Collagen induced.190 ug/mL | Platelet Aggregation Collagen Induced 190 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 51728-4 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.10 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.10 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.10 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 10 umol/L | Platelet Aggregation Study |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2011-09-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53507-0 |  |  | Kynurenin/Creatinine | SRto | nmol/mmol creat | Pt | Urine | Qn |  | Kynurenin/Creat Ur-sRto | Kynurenin/Creatinine:SRto:Pt:Urine:Qn | Kynurenin/Creatinine; Urine |  |  | CHEM | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53563-3 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.20 umol/mL | PA PRP ADP 20 umol/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.20 umol/mL | Platelet Aggregation Adenosine Diphosphate Induced 20 mmol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53564-1 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.50 umol/mL | PA PRP ADP 50 umol/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.50 umol/mL | Platelet Aggregation Adenosine Diphosphate Induced 50 mmol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53565-8 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.100 umol/mL | PA PRP ADP 100 umol/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.100 umol/mL | Platelet Aggregation Adenosine Diphosphate Induced 100 mmol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53566-6 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.collagen induced.8.0 ug/mL | PA PRP Coll 8.0 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced.8.0 ug/mL | Platelet Aggregation Collagen Induced 8.0 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53567-4 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.epinephrine induced.0.1 ug/mL | PA PRP Epineph 0.1 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.epinephrine induced.0.1 ug/mL | Platelet Aggregation EPINEPHrine Induced 0.1 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2024-12-12 |  | RELEASED | ACTIVE | STANDARD
Change | 53568-2 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.arachidonate induced.500 ug/mL | PA PRP AA 500 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.arachidonate induced.500 ug/mL | Platelet Aggregation Arachidonate Induced 500 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2024-12-12 |  | RELEASED | ACTIVE | STANDARD
Change | 53569-0 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.800 ug/mL | PA PRP Rist 800 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.800 ug/mL | Platelet Aggregation Ristocetin Induced 800 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Deprecate | 53734-0 |  |  | Kynurenine | SCnc |  | Pt | Ser/Plas | Qn |  | Kynurenine SerPl-sCnc | Kynurenine:SCnc:Pt:Ser/Plas:Qn | Kynurenine |  |  | CHEM | [7 empty] | Deprecated in V3.04 - Use equivalent LOINC 53734-0 | 2009-06-30 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Change | 53813-2 |  |  | Platelet aggregation | ACnc | U/mL | Pt | Bld | Qn | Aggregometry.adenosine diphosphate induced | PA Bld ADP-aCnc | Platelet aggregation:ACnc:Pt:Bld:Qn:Aggregometry.adenosine diphosphate induced | Platelet Aggregation Adenosine Diphosphate Induced; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 53814-0 |  |  | Platelet aggregation | ACnc | U/mL | Pt | Bld | Qn | Aggregometry.arachidonate induced | PA Bld AA-aCnc | Platelet aggregation:ACnc:Pt:Bld:Qn:Aggregometry.arachidonate induced | Platelet Aggregation Arachidonate Induced; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2009-06-30 |  | RELEASED | ACTIVE | STANDARD
Change | 55344-6 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.1000 ug/mL | PA PRP Rist 1000 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.1000 ug/mL | Platelet Aggregation Ristocetin Induced 1000 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 55797-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.2.5 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.2.5 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.2.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 2.5 umol/L | Platelet Aggregation ADP Induced 2.5 umol/L; Platelet Rich Plasma; Platelet aggregation adenosine diphosphate induced 2.5 um |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 55798-3 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced.5 umol/L | Platelet aggr int PRP Adenosine diphosphate induced.5 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 5 umol/L; Blood | Platelet Aggregation ADP Induced 5 umol/L; Platelet Rich Plasma; Platelet aggregation adenosine diphosphate induced 5 um |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 55799-1 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Ristocetin induced.1125 mg/L | Platelet aggr int PRP Ristocetin induced.1125 mg/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Ristocetin induced.1125 mg/L | Platelet Aggregation Ristocetin Induced 1125 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 55800-7 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Ristocetin induced.1000 mg/L | Platelet aggr int PRP Ristocetin induced.1000 mg/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Ristocetin induced.1000 mg/L | Platelet Aggregation Ristocetin Induced 1000 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 55801-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Ristocetin induced.500 mg/L | Platelet aggr int PRP Ristocetin induced.500 mg/L-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Ristocetin induced.500 mg/L | Platelet Aggregation Ristocetin Induced 500 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 56002-9 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.adenosine diphosphate induced ATP secretion.5 umol/L | PA Bld ADP ATP secr 5 umol/L | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.adenosine diphosphate induced ATP secretion.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced ATP Secretion 5 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56003-7 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Adenosine diphosphate induced ATP secretion.10 umol/L | Platelet aggr int Bld Adenosine diphosphate induced ATP secretion.10 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Adenosine diphosphate induced ATP secretion.10 umol/L | Platelet Aggregation Adenosine Diphosphate Induced ATP Secretion 10 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56004-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Adenosine diphosphate induced ATP secretion.5 umol/L | Platelet aggr int Bld Adenosine diphosphate induced ATP secretion.5 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Adenosine diphosphate induced ATP secretion.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced ATP Secretion 5 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56005-2 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.adenosine diphosphate induced.5 umol/L | PA Bld ADP 5 umol/L | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.adenosine diphosphate induced.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 5 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56006-0 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.adenosine diphosphate induced.10 umol/L | PA Bld ADP 10 umol/L | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.adenosine diphosphate induced.10 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 10 umol/L; Blood | Platelet Aggregation ADP Induced 10 umol/L; Platelet aggregation adenosine diphosphate induced 10 um; Blood |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-05-07 |  | RELEASED | ACTIVE | STANDARD
Change | 56007-8 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.arachidonate induced.500 ug/mL | PA Bld AA 500 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.arachidonate induced.500 ug/mL | Platelet Aggregation Arachidonate Induced 500 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56008-6 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.collagen induced.1 ug/mL | PA Bld Coll 1 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.collagen induced.1 ug/mL | Platelet Aggregation Collagen Induced 1 mg/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56009-4 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.collagen induced.5 ug/mL | PA Bld Coll 5 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.collagen induced.5 ug/mL | Platelet Aggregation Collagen Induced 5 mg/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56010-2 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.ristocetin induced.250 ug/mL | PA Bld Rist 250 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.ristocetin induced.250 ug/mL | Platelet Aggregation Ristocetin Induced 250 mg/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56011-0 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.adenosine diphosphate induced ATP secretion.10 umol/L | PA Bld ADP ATP secr 10 umol/L | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.adenosine diphosphate induced ATP secretion.10 umol/L | Platelet Aggregation Adenosine Diphosphate Induced ATP Secretion 10 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56012-8 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Arachidonate induced ATP secretion.500 umol/L | Platelet aggr int Bld Arachidonate induced ATP secretion.500 umol/L-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Arachidonate induced ATP secretion.500 umol/L | Platelet Aggregation Arachidonate Induced ATP Secretion 500 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56013-6 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.arachidonate induced ATP secretion.500 umol/L | PA Bld AA ATP secr 500 umol/L | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.arachidonate induced ATP secretion.500 umol/L | Platelet Aggregation Arachidonate Induced ATP Secretion 500 umol/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56014-4 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.collagen induced ATP secretion.5 ug/mL | PA Bld Coll ATP secr 5 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.collagen induced ATP secretion.5 ug/mL | Platelet Aggregation Collagen Induced ATP Secretion 5 ug/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 56015-1 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.collagen induced ATP secretion.1 ug/mL | PA Bld Coll ATP secr 1 ug/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.collagen induced ATP secretion.1 ug/mL | Platelet Aggregation Collagen Induced ATP Secretion 1 ug/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 56016-9 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Collagen induced ATP secretion.1 ug/mL | Platelet aggr int Bld Collagen induced ATP secretion.1 ug/mL-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Collagen induced ATP secretion.1 ug/mL | Platelet Aggregation Collagen Induced ATP Secretion 1 ug/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56017-7 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Collagen induced ATP secretion.5 ug/mL | Platelet aggr int Bld Collagen induced ATP secretion.5 ug/mL-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Collagen induced ATP secretion.5 ug/mL | Platelet Aggregation Collagen Induced ATP Secretion 5 ug/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 56018-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Thrombin induced ATP secretion.5 U/mL | Platelet aggr int Bld Thrombin induced ATP secretion.5 U/mL-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Thrombin induced ATP secretion.5 U/mL | Platelet Aggregation Thrombin Induced ATP Secretion 5 U/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56019-3 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.thrombin induced ATP secretion.1 U/mL | PA Bld Thromb ATP secr 1 U/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.thrombin induced ATP secretion.1 U/mL | Platelet Aggregation Thrombin Induced ATP Secretion 1 U/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56020-1 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.thrombin induced ATP secretion.5 U/mL.post heparin neutralization | PA Bld Thromb ATP secr 5 U/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.thrombin induced ATP secretion.5 U/mL.post heparin neutralization | Platelet Aggregation Thrombin Induced ATP Secretion 5 U/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-01-26 |  | RELEASED | ACTIVE | STANDARD
Change | 56021-9 |  |  | Platelet aggregation interpretation | Imp |  | Pt | Bld | Ord | Thrombin induced ATP secretion.1 U/mL | Platelet aggr int Bld Thrombin induced ATP secretion.1 U/mL-Imp | Platelet aggregation interpretation:Imp:Pt:Bld:Ord:Thrombin induced ATP secretion.1 U/mL | Platelet Aggregation Thrombin Induced ATP Secretion 1 U/mL; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 56027-6 |  |  | Platelet aggregation | RelACnc |  | Pt | Bld | Qn | Aggregometry.ristocetin induced.1.0 mg/mL | PA Bld Rist 1.0 mg/mL | Platelet aggregation:RelACnc:Pt:Bld:Qn:Aggregometry.ristocetin induced.1.0 mg/mL | Platelet Aggregation Ristocetin Induced 1.0 g/L; Blood |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-03-01 |  | RELEASED | ACTIVE | STANDARD
Change | 58379-9 |  |  | Fentanyl+Norfentanyl | PrThr |  | Pt | Urine | Ord | Screen | fentaNYL+Norfentanyl Ur Ql Scn | Fentanyl+Norfentanyl:PrThr:Pt:Urine:Ord:Screen | Fentanyl+Norfentanyl; Urine; Screen |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-08-01 |  | RELEASED | ACTIVE | STANDARD
Change | 59673-4 |  |  | fentaNYL | PrThr |  | Pt | Urine | Ord | Screen | fentaNYL Ur Ql Scn | fentaNYL:PrThr:Pt:Urine:Ord:Screen | fentaNYL; Urine; Screen |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2010-11-11 |  | RELEASED | ACTIVE | STANDARD
Change | 5992-3 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced | PA PRP ADP | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced | Platelet Aggregation Adenosine Diphosphate Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5993-1 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.arachidonate induced | PA PRP AA | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.arachidonate induced | Platelet Aggregation Arachidonate Induced | Platelet Aggregation Study |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2022-01-14 |  | RELEASED | ACTIVE | STANDARD
Change | 5994-9 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.calcium ionophore induced | PA PRP Ca Ionoph | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.calcium ionophore induced | Platelet Aggregation Calcium Ionophore Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5995-6 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.collagen induced | PA PRP Coll | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced | Platelet Aggregation Collagen Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5996-4 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.epinephrine induced | PA PRP Epineph | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.epinephrine induced | Platelet Aggregation EPINEPHrine Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5997-2 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.norepinephrine induced | PA PRP Norepineph | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.norepinephrine induced | Platelet Aggregation Norepinephrine Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5998-0 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.ristocetin induced | PA PRP Rist | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced | Platelet Aggregation Ristocetin Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 5999-8 |  |  | Platelet aggregation | RelACnc |  | Pt | PRP | Qn | Aggregometry.serotonin induced | PA PRP Serotonin | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.serotonin induced | Platelet Aggregation Serotonin Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 6000-4 |  |  | Platelet aggregation | ThrACnc |  | Pt | PRP | Qn | Aggregometry.thrombin induced | PA PRP Thrombin | Platelet aggregation:ThrACnc:Pt:PRP:Qn:Aggregometry.thrombin induced | Platelet Aggregation Thrombin Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 61042-8 |  |  | fentaNYL | PrThr |  | Pt | XXX | Ord |  | fentaNYL Spec Ql | fentaNYL:PrThr:Pt:XXX:Ord | Fentanyl |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2011-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 61052-7 |  |  | Norfentanyl | PrThr |  | Pt | Ser/Plas | Ord |  | Norfentanyl SerPl Ql | Norfentanyl:PrThr:Pt:Ser/Plas:Ord | Norfentanyl |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-08-01 |  | RELEASED | ACTIVE | STANDARD
Change | 61053-5 |  |  | Norfentanyl | PrThr |  | Pt | XXX | Ord |  | Norfentanyl XXX Ql | Norfentanyl:PrThr:Pt:XXX:Ord | Norfentanyl |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-08-01 |  | RELEASED | ACTIVE | STANDARD
Change | 61077-4 |  |  | fentaNYL | PrThr |  | Pt | Gast fld | Ord |  | fentaNYL Gast Ql | fentaNYL:PrThr:Pt:Gast fld:Ord | Fentanyl; Gastric Fluid |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2011-03-31 |  | RELEASED | ACTIVE | STANDARD
Change | 61086-5 |  |  | Norfentanyl | PrThr |  | Pt | Gast fld | Ord |  | Norfentanyl Gast Ql | Norfentanyl:PrThr:Pt:Gast fld:Ord | Norfentanyl; Gastric Fluid |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2014-08-01 |  | RELEASED | ACTIVE | STANDARD
Change | 67127-1 |  |  | Cellularity assessment | Imp |  | Pt | XXX | Nar | Flow cytometry | Cellularity assessment Spec FC-Imp | Cellularity assessment:Imp:Pt:XXX:Nar:Flow cytometry | Cellularity assessment |  |  | CELLMARK | [7 empty] | OLIS Requested Change V3.04 - Alignment with pCLOCD | 2019-01-18 |  | RELEASED | ACTIVE | STANDARD
Add | 71637-3 |  |  | Unspecified cells/Leukocytes | NFr | % | Pt | Body fld | Qn | Manual count | Unspecified Cells NFr.DF Fld Manual | Unspecified cells/Leukocytes:NFr:Pt:Body fld:Qn:Manual count | Unspecified cells/Leukocytes; Fluid; Manual |  |  | HEM/BC | [7 empty] | OLIS Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | 75892-0 |  |  | t(9;22)(q34.1;q11)(ABL1,BCR) fusion transcript break points | Prid |  | Pt | Bld/Tiss | Nom | Molgen | t(9;22)(ABL1,BCR) break pts Bld/T | t(9;22)(q34.1;q11)(ABL1,BCR) fusion transcript break points:Prid:Pt:Bld/Tiss:Nom:Molgen | t(9;22)(q34.1;q11)(ABL1,BCR) Fusion Transcript Break Points |  |  | MOLGEN | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Change | 78520-4 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.2.5 umol/L | PA PRP ADP 2.5 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.2.5 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 2.5 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | 78521-2 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.4 umol/L | PA PRP ADP 4 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.4 umol/L | Platelet Aggregation Adenosine Diphosphate Induced 4 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | 78525-3 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.arachidonate induced.1.6 mmol/L | PA PRP AA 1.6 mmol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.arachidonate induced.1.6 mmol/L | Platelet Aggregation Arachidonate Induced 1.6 mmol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | 78528-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.1.25 mg/mL | PA PRP Rist 1.25 mg/ml | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.1.25 mg/mL | Platelet Aggregation Ristocetin Induced 1.25 g/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 78686-3 |  |  | Platelet aggregation | ACnc | arb U/mL | Pt | Bld | Qn | Aggregometry.ristocetin induced.high dose | PA Bld Rist hi dose-aCnc | Platelet aggregation:ACnc:Pt:Bld:Qn:Aggregometry.ristocetin induced.high dose | Platelet Aggregation Ristocetin Induced High Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 78739-0 |  |  | Platelet aggregation | ACnc | arb U/mL | Pt | Bld | Qn | Aggregometry.ristocetin induced.low dose | PA Bld Rist lo dose-aCnc | Platelet aggregation:ACnc:Pt:Bld:Qn:Aggregometry.ristocetin induced.low dose | Platelet Aggregation Ristocetin Induced Low Dose |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 79130-1 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.500 ug/mL | PA PRP Rist 500 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.500 ug/mL | Platelet Aggregation Ristocetin Induced 500 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Add | 79594-8 |  |  | Glycylproline/Creatinine | Srto | umol/mol | Pt | Urine | Qn |  | Gly-pro/Creat Ur-sRto | Glycylproline/Creatinine:Srto:Pt:Urine:Qn | Glycylproline/Creatinine |  |  | CHEM | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Add | 79617-7 |  |  | Glycylproline | SCnc | umol/L | Pt | Ser/Plas | Qn |  | Gly-pro SerPl-sCnc | Glycylproline:SCnc:Pt:Ser/Plas:Qn | Glycylproline |  |  | CHEM | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Change | 87403-2 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.750 ug/mL | PA Rist 750 ug/mL PRP | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.750 ug/mL | Platelet Aggregation Ristocetin Induced 750 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 93410-9 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.5 ug/mL | PA PRP Rist 5 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.5 ug/mL | Platelet Aggregation Ristocetin Induced 5 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 93702-9 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.15 ug/mL | PA Rist 15 ug/mL PRP | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.15 ug/mL | Platelet Aggregation Ristocetin Induced 15 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Change | 95245-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.375 ug/mL | PA PRP Rist 375 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.375 ug/mL | Platelet Aggregation Ristocetin Induced 375 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2023-03-09 |  | RELEASED | ACTIVE | STANDARD
Add | 97606-8 |  |  | Phosphatidylethanol 16:0-18:2 | MCnc | ng/mL | Pt | Bld | Qn |  | PLPEth Bld-mCnc | Phosphatidylethanol 16:0-18:2:MCnc:Pt:Bld:Qn | Phosphatidylethanol 16:0-18:2; Blood | PLPEth; Blood |  | DRUG/TOX | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | 97607-6 |  |  | Phosphatidylethanol 16:0-18:1 | MCnc | ng/mL | Pt | Bld | Qn |  | POPEth Bld-mCnc | Phosphatidylethanol 16:0-18:1:MCnc:Pt:Bld:Qn | Phosphatidylethanol 16:0-18:1; Blood | POPEth; Blood |  | DRUG/TOX | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Deprecate | XON12211-9 |  |  | C3 Complement Breakdown Products | MCnc | ng/mL | Pt | Ser | Qn |  | Complement C3 Breakdown products | C3 Complement Breakdown Products:MCnc:Pt:Ser:Qn | C3 breakdown products |  |  | HEM/BC | [7 empty] | Deprecated in V3.04 - No equivalent LOINC code available | 2012-07-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Deprecate | XON12212-7 |  |  | Factor B Breakdown Product | MCnc | ug/mL | Pt | Ser | Qn |  | Factor B Breakdown products | Factor B Breakdown Product:MCnc:Pt:Ser:Qn | Factor B Split product |  | BBLL Split Products | HEM/BC | [7 empty] | Deprecated in V3.04 - No equivalent LOINC code available | 2012-07-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Deprecate | XON12245-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.20 umol/mL | PA PRP ADP 20 umol/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.20 umol/mL | Platelet Aggregation Adenosine Diphosphate Induced 20 mmol/L |  |  | COAG | [7 empty] | Deprecated in V3.04 - Use equivalent LOINC 53563-3 | 2012-07-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Deprecate | XON12246-5 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.ristocetin induced.500 mg/L | PA PRP Rist 500 mg/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.ristocetin induced.500 mg/L | Platelet Aggregation Ristocetin Induced 0.5 g/L |  |  | COAG | [7 empty] | Deprecated in V3.04 - Use equivalent LOINC 79130-1 | 2012-07-31 |  | Retired archived | INACTIVE | STANDARD
Deprecate | XON12278-8 |  |  | 5Q- gene deletion | Find |  | Pt | Bld/Tiss | Nar | FISH | 5Q Gene Deletion | 5Q- gene deletion:Find:Pt:Bld/Tiss:Nar:FISH | Fluorescence in situ hydridization (FISH) 5Q Deletion |  |  | MOLGEN | [7 empty] | Deprecated in V3.04 - No equivalent LOINC code available | 2012-07-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Deprecate | XON12330-7 |  |  | Gamma globulin | MCnc | g/L | 24H | Urine | Qn | Electrophoresis | Gamma glob 24h Ur Elph-mCnc | Gamma globulin:MCnc:24H:Urine:Qn:Electrophoresis | Gamma Globuline, Urine 24 |  |  | CHEM | [7 empty] | Deprecated in V3.04 - Use equivalent LOINC 111492-5 | 2012-07-31 |  | Retired archived | INACTIVE | STANDARD
Change | XON12459-4 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.adenosine diphosphate induced.20 umol | PA PRP ADP 20 umol | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.adenosine diphosphate induced.20 umol | Platelet Aggregation Adenosine Diphosphate Induced 20 umol |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2012-10-31 |  | RELEASED | ACTIVE | STANDARD
Deprecate | XON12460-2 |  |  | C3 Complement Breakdown Products | MCnc | ng/mL | Pt | Ser | Qn |  | Complement C3 Breakdown products | C3 Complement Breakdown Products:MCnc:Pt:Ser:Qn | C3 Breakdown Products |  | BBLL Split Products | HEM/BC | [7 empty] | Deprecated in V3.04 - No equivalent LOINC code available | 2012-10-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Deprecate | XON12461-0 |  |  | Factor B Breakdown Product | MCnc | ug/mL | Pt | Ser | Qn |  | Factor B Breakdown products | Factor B Breakdown Product:MCnc:Pt:Ser:Qn | Factor B Split Product |  |  | HEM/BC | [7 empty] | Deprecated in V3.04 - No equivalent LOINC code available | 2012-10-31 | 2026-05-31 | Retired archived | INACTIVE | STANDARD
Change | XON12823-1 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.Thromboxane (U46619) induced | PA PRP TX(U46619) | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.Thromboxane (U46619) induced | Platelet Aggregation Thromboxane (U46619) Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2013-08-16 |  | RELEASED | ACTIVE | STANDARD
Change | XON13103-7 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Adenosine diphosphate induced ATP secretion | Platelet aggr int PRP Adenosine diphosphate induced ATP secretion-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Adenosine diphosphate induced ATP secretion | Platelet Aggregation Adenosine Diphosphate Induced ATP Secretion |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2015-02-06 |  | RELEASED | ACTIVE | STANDARD
Change | XON13104-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Arachidonate induced ATP secretion | Platelet aggr int PRP Arachidonate induced ATP secretion-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Arachidonate induced ATP secretion | Platelet Aggregation Arachidonate Induced ATP Secretion |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2015-02-06 |  | RELEASED | ACTIVE | STANDARD
Change | XON13105-2 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Collagen induced ATP secretion | Platelet aggr int PRP Collagen induced ATP secretion-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Collagen induced ATP secretion | Platelet Aggregation Collagen Induced ATP Secretion |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2015-02-06 |  | RELEASED | ACTIVE | STANDARD
Change | XON13175-5 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Thrombin induced ATP secretion | Platelet aggr int PRP Thrombin induced ATP secretion-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Thrombin induced ATP secretion | Platelet Aggregation Thrombin Induced ATP Secretion |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2015-06-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON13177-1 |  |  | Platelet aggregation interpretation | Imp |  | Pt | PRP | Ord | Thromboxane induced | Platelet aggr int PRP Thromboxane induced-Imp | Platelet aggregation interpretation:Imp:Pt:PRP:Ord:Thromboxane induced | Platelet Aggregation Thromboxane Induced |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2015-06-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON13373-6 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.collagen induced.2.0 ug/mL | PA PRP Coll 2.0 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced.2.0 ug/mL | Platelet Aggregation Collagen Induced 2 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | XON13374-4 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.collagen induced.10.0 ug/mL | PA PRP Coll 10.0 ug/mL | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.collagen induced.10.0 ug/mL | Platelet Aggregation Collagen Induced 10 mg/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | XON13375-1 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.epinephrine induced.5 umol/L | PA PRP Epineph 5 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.epinephrine induced.5 umol/L | Platelet Aggregation EPINEPHrine Induced 5 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | XON13376-9 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.thromboxane A2 induced.1 umol/L | PA PRP TX A2 1 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.thromboxane A2 induced.1 umol/L | Platelet Aggregation Thromboxane A2 Induced 1 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | XON13377-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.thromboxane A2 induced.2 umol/L | PA PRP TX A2 2 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.thromboxane A2 induced.2 umol/L | Platelet Aggregation Thromboxane A2 Induced 2 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-05-19 |  | RELEASED | ACTIVE | STANDARD
Change | XON13391-8 |  |  | Carfentanyl | PrThr |  | Pt | Urine | Ord | Screen | Carfentanyl Ur Ql Scn | Carfentanyl:PrThr:Pt:Urine:Ord:Screen | Carfentanyl; Urine; Screen |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2017-07-21 |  | RELEASED | ACTIVE | STANDARD
Change | XON13637-4 |  |  | Norcarfentanil | PrThr |  | Pt | Urine | Ord | Screen | Norcarfentanil Ur Ql Scn | Norcarfentanil:PrThr:Pt:Urine:Ord:Screen | Norcarfentanil; Urine; Screen |  |  | DRUG/TOX | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-03-12 |  | RELEASED | ACTIVE | STANDARD
Deprecate | XON13648-1 |  |  | Platelet aggregation.collagen induced^10 ug/mL | RelACnc | % | Pt | PRP | Qn |  | PA PRP Coll 10.0 ug/mL | Platelet aggregation.collagen induced^10 ug/mL:RelACnc:Pt:PRP:Qn | Platelet Aggregation Collagen Induced 10.0 ug/mL |  |  | COAG | [7 empty] | Deprecated in V3.04 - Use equivalent code XON13374-4 | 2021-04-05 |  | Retired archived | INACTIVE | STANDARD
Deprecate | XON13649-9 |  |  | Platelet aggregation.collagen induced^2.0 ug/mL | RelACnc | % | Pt | PRP | Qn |  | PA PRP Coll 2.0 ug/mL | Platelet aggregation.collagen induced^2.0 ug/mL:RelACnc:Pt:PRP:Qn | Platelet Aggregation Collagen Induced 2.0 ug/mL |  |  | COAG | [7 empty] | Deprecated in V3.04 - Use equivalent code XON13373-6 | 2021-05-07 |  | Retired archived | INACTIVE | STANDARD
Change | XON13650-7 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.thrombin receptor activating peptide-6 induced^3.3 umol/L | PA PRP TRAP-6 3.3 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.thrombin receptor activating peptide-6 induced^3.3 umol/L | Platelet Aggregation Thrombin Receptor Activating Peptide-6 (TRAP-6) Induced 3.3 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON13651-5 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.thrombin receptor activating peptide-6 induced^6 umol/L | PA PRP TRAP-6 6 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.thrombin receptor activating peptide-6 induced^6 umol/L | Platelet Aggregation Thrombin Receptor Activating Peptide-6 (TRAP-6) Induced 6 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON13652-3 |  |  | Platelet aggregation | RelACnc | % | Pt | PRP | Qn | Aggregometry.U46619 induced^2.0 umol/L | PA PRP U46619 induced 2.0 umol/L | Platelet aggregation:RelACnc:Pt:PRP:Qn:Aggregometry.U46619 induced^2.0 umol/L | Platelet Aggregation U46619 Induced 2.0 umol/L |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON13653-1 |  |  | Platelet aggregation | Sub | nmoles | Pt | PRP | Qn | Aggregometry.thrombin induced^1.0 U/mL | PA PRP sub Thrombin 2.0 umol/L Qn | Platelet aggregation:Sub:Pt:PRP:Qn:Aggregometry.thrombin induced^1.0 U/mL | Platelet Aggregation Thrombin Induced 1.0 U/mL |  |  | COAG | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2021-04-05 |  | RELEASED | ACTIVE | STANDARD
Change | XON14880-9 |  |  | IDH1 gene exon 4 targeted mutation analysis | PrThr |  | Pt | XXX | Ord | Molgen | IDH2 exon 4 Mut Anl Spec Ql | IDH1 gene exon 4 targeted mutation analysis:PrThr:Pt:XXX:Ord:Molgen | IDH1 Gene Exon 2 (Isocitrate Dehydrogenase) Targeted Mutation Analysis; Molgen | Isocitrate Dehydrogenase 1 |  | MOLGEN | [7 empty] | OLIS Requested Change V3.04 - Alignment with LOINC and pCLOCD | 2026-03-23 |  | RELEASED | ACTIVE | STANDARD
Add | XON14938-5 |  |  | Cells analyzed.total | Num |  | Pt | XXX | Qn |  | Total cells analyzed Spec | Cells analyzed.total:Num:Pt:XXX:Qn | Total Cells Analyzed |  |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Add | XON14939-3 |  |  | Cells analyzed.partial | Num |  | Pt | XXX | Qn |  | Partial cells analyzed Spec | Cells analyzed.partial:Num:Pt:XXX:Qn | Partial Cells Analyzed |  |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Add | XON14940-1 |  |  | Cells analyzed.metaphase | Num |  | Pt | XXX | Qn |  | Metaphase cells analyzed Spec | Cells analyzed.metaphase:Num:Pt:XXX:Qn | Metaphase Cells Analyzed |  |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Add | XON14941-9 |  |  | Interphase nuclei counted | Num |  | Pt | XXX | Qn |  | Interphase nuclei counted Spec | Interphase nuclei counted:Num:Pt:XXX:Qn | Interphase Nuclei Counted |  |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-21 |  | RELEASED | ACTIVE | STANDARD
Add | XON14942-7 |  |  | Copy number variants above expected 6 megabases | NFr | % | Pt | Bld | Qn | OGM | CNV >6Mb Fr Bld OGM | Copy number variants above expected 6 megabases:NFr:Pt:Bld:Qn:OGM | Copy Number Variants (CNV) Above Expected 6 Megabases | CNV above 6 Mb expected |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14943-5 |  |  | Copy number variants above expected 2 megabases | NFr | % | Pt | Bld | Qn | OGM | CNV >2Mb Fr Bld OGM | Copy number variants above expected 2 megabases:NFr:Pt:Bld:Qn:OGM | Copy Number Variants (CNV) Above Expected 2 Megabases | CNV above 2 Mb expected |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14944-3 |  |  | Informatic Report (IR) Correlation with Label Density | Ratio |  | Pt | Bld | Qn | OGM | IR Correlation Label Den Bld-Rto OGM | Informatic Report (IR) Correlation with Label Density:Ratio:Pt:Bld:Qn:OGM | Informatic Report (IR) Correlation with Label Density | IR Correlation with Label Density |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14945-0 |  |  | Informatic Report (IR) Effective Coverage of the Reference | Ratio |  | Pt | Bld | Qn | OGM | IR Eff Coverage Bld-Rto OGM | Informatic Report (IR) Effective Coverage of the Reference:Ratio:Pt:Bld:Qn:OGM | Informatic Report (IR) Effective Coverage of the Reference | IR Effective Coverage of Reference |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14946-8 |  |  | Informatic Report (IR) Overall Quality Assessment | Imp |  | Pt | Bld | Nar | OGM | IR Ql Assess Bld OGM | Informatic Report (IR) Overall Quality Assessment:Imp:Pt:Bld:Nar:OGM | Informatic Report (IR) Overall Quality Assessment | IR Overall Quality Assessment |  | MOLPATH |  |  |  |  | YES |  |  | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14947-6 |  |  | Molecular Quality Report (MQR) Molecule N50 (>150 KBP) | Ratio |  | Pt | Bld | Qn | OGM | MQR N50 Bld-Rto OGM | Molecular Quality Report (MQR) Molecule N50 (>150 KBP):Ratio:Pt:Bld:Qn:OGM | Molecular Quality Report (MQR) N50>150 KBP | MQR N50>150 KBP |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14948-4 |  |  | Molecular Quality Report (MQR) Map Rate | NFr | % | Pt | Bld | Qn | OGM | MQR Map Fr Bld OGM | Molecular Quality Report (MQR) Map Rate:NFr:Pt:Bld:Qn:OGM | Molecular Quality Report (MQR) Map Rate | MQR Map Rate |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD
Add | XON14949-2 |  |  | NPM1 mutations copies/10E4 ABL1 | Ratio | copies/10E4 ABL1 | Pt | Bone mar | Qn | Molgen | NPM1/ALB1 Rto Mar | NPM1 mutations copies/10E4 ABL1:Ratio:Pt:Bone mar:Qn:Molgen | NPM1 mutations copies/10E4 ABL1 | NPM1 Copies/10E4 ABL1 |  | MOLPATH | [7 empty] | User Requested Addition V3.04 | 2026-05-28 |  | RELEASED | ACTIVE | STANDARD

## Microorganism Changes
Type of Change | OLIS Microorganism code | Microorganism Type | Taxonomic level | Microorganism Name | Alternative Name 1 | Alternative Name 2 | Short Name | Source | External Link | Reportable | Reportable Context | Effective Start Date | Effective End Date | Change Note | Comments | Workflow Status Indicator | Validation Status Indicator
Add | 1112101000112106 | Organism |  | Carbapenemase-producing Lelliottia amnigena (organism) | Carbapenemase-producing Lelliottia amnigena | Carbapenemase-producing Enterobacter amnigenus; CPE Lelliottia amnigena | Lelliottia amnigena CPE |  |  |  |  | 2026-05-28 |  | User Requested Addition V3.04 |  | RELEASED | ACTIVE
Add | 1162556001 | Organism |  | Genus Phocaeicola (organism) | Genus Phocaeicola | Phocaeicola | Phocaeicola species |  |  |  |  | 2026-05-21 |  | User Requested Addition V3.04 |  | RELEASED | ACTIVE
Add | 1362138006 | Organism |  | Carbapenemase-producing Lelliottia (organism) | Carbapenemase-producing Lelliottia | CPE Lelliottia | Lelliottia species CPE |  |  |  |  | 2026-05-28 |  | User Requested Addition V3.04 |  | RELEASED | ACTIVE
Change | 262421481000087107 | Organism |  | Acremonium sclerotigenum (organism) | Acremonium sclerotigenum | [6 empty] | 2011-12-12 | 2026-04-30 | Deprecated in V3.03 - Use equivalent SNOMED CT 28781000087102 |  | Retired archived | INACTIVE
Add | 761864003 | Organism |  | Kurthia populi (organism) | Kurthia populi | [6 empty] | 2026-05-28 |  | User Requested Addition V3.04 |  | RELEASED | ACTIVE

## Source Changes
Type of Change | Value | Description